ZVA Setup

3. Source out to RF in

3. Ref in to Ref. IF

3. Meas in to Meas IF

1. Source out to LO in